## Slide 1: MASAR
Machine Snapshot, Archiving, and Retrieve

## Slide 2: MASAR
MASAR
  A save/restore tool
    Machine Snapshot, Archiving, and Retrieve
  EPICS V4 Service to snapshot machines
    General purpose tool
    Globally handle PVs distributed in different IOCs
  Machine
    A collection of EPICS PVs
  Snapshot
    Data at specific time point
      Value, time stamp, connection status, alarm status, alarm severity
Similar, but different purpose tools
  Autosave
    Single IOC bumpless rebooting
  Archiver
    Archive periodically
    Save time serially data
MASAR Status Update and FRIB High Level Controls Progress - Guobao Shen FRIB 2016-09-21

## Slide 3: MASAR: Machine Snapshot, Archiving, and Retrieve
Core features:
Allows for the creation of user defined collection of PV’s across multiple IOCs called a MASAR configuration
Snapshot machine status for given configuration
Restore machine status back to snapshot point
Both snapshots and configurations can be tagged and queried

## Slide 4: MASAR Architecture
MASAR Server (EPICS V4 Engine)
PyQt
Channel Access
Gather/C++
MASAR Client Python Library pvAccess Client
pvAccess
DSL-PY Module (C++ <->Python)
PYMASAR (Python)
SQLite
Scripting
IOC
IOC
IOC
CS-Studio/MASAR
pvAccess Client Library (Java)
Restore
MongoDB
MASAR Status Update and FRIB High Level Controls Progress - Guobao Shen FRIB 2016-09-21

## Slide 5: Save Restore Client

## Slide 6: CS-STUDIO MASAR: Editor
Create a configuration of setpoint pv’s
Pair setpoint and readback pv’s
Tag pv’s that are to be excluded from restore
Define deltas

## Slide 7
Masar cs-studio client snapshot viewer
Notes: Create configuration

## Slide 8
Masar cs-studio client snapshot viewer
Notes: Take a snapshot

## Slide 9
Masar cs-studio client snapshot viewer
Notes: Take a snapshot

## Slide 10
Masar cs-studio client snapshot viewer
Notes: Take a snapshot

## Slide 11: Exercise
Select the MASAR data provider
Create a “New” MASAR configuration
Save the newly created MASAR configuration
“Open” the previously created MASAR configuration in preparation for taking a snapshot
“Take Snapshot” and “Save Snapshot”
  You can take multiple snapshots for the same configuration
“Compare” multiple snapshots, edit setpoint values, “Restore” snapshot

## Slide 12: MASAR service API

## Slide 13: Service calls
https://github.com/mdavidsaver/masarService/blob/master/interface.md
storeServiceConfig
  Create/Replace an existing configuration
saveSnapshot & updateSnapshotEvent
  Take and Save a snapshot
retrieveServiceConfigs
  Query for Configurations
retrieveServiceEvents
retrieveSnapshot